| Checklist Item | Action/Verification | Notes/Details |
| --- | --- | --- |
| 1. Delivery Verification | Confirm Delivery Contents | - Check received monitor models and quantities against order. - Inspect for any damage during shipping. - Verify all accessories (cables, adapters, solar panels) are included. |
| 2. Resource Planning | Assemble Deployment Toolkit | - Gather necessary tools: screwdrivers, drills, cable ties, ladders, etc. - Confirm sufficient personnel/team availability for deployment. - Ensure team familiarity with setup procedures. |
| 3. Deployment Scheduling & Logistics | Plan Deployment Schedule | - Create a realistic schedule factoring in travel, installation time, and buffer. - Consider team availability and site access restrictions. |
|  | Plan Transportation | - Organize transportation of monitors and equipment to each site. - Consider vehicle access, parking, and carrying equipment. |
|  | Coordinate Site Access | - Re-confirm access schedules with property owners/contacts for private sites. - Ensure clear communication channels for site access on deployment day. |
| 4. Safety & Security Measures | Safety Equipment Ready | - Ensure safety vests, gloves, eye protection, and sturdy footwear are available for the team. |
|  | Working at Heights Safety | - Verify stable ladders are available (if needed). - Confirm team is briefed on safe ladder use and spotter procedures. |
|  | Tool Security Plan | - Establish a plan to keep tools and equipment secure during deployment to prevent loss or theft. |
|  | Deployment Team Safety Briefing | - Conduct a pre-deployment safety briefing covering procedures, emergency contacts, and basic first aid. |
| 5. Permit Confirmation | Verify Permits are in Order | - Double-check that all necessary permits for deployment sites (especially public property) have been formally received and approved. |